Possible Geothermal District Heating in Sanmartin, Romania

A. C. Blaga1, M. Rosca2, C. Karytsas3 and D. Mendrinos4

1, 2 University of Oradea, 5 Armatei Romane str., 410087 Oradea, Romania

3, 4 CRES, 19th km Marathon Avenue, 190.09 Pikermi Attica, Greece

E-mail addresses: 1 cblaga@uoradea.ro, 2 mrosca@uoradea.ro, 3 kkari@cres.gr, 4 dmendrin@cres.gr

# Abstract

At present, the primary thermal agent for both space and tap water heating is supplied by the co-generation power plant located west of Oradea, which has two units fired by natural gas, and tree more fired by low-grade coal. The paper briefly presents the geothermal aquifer, technical solutions for the utilisation of the available geothermal energy for space and tap water heating, and the environmental impact of the proposed technical solution compared to the current situation.