11

EDS Newsletter Issue 17, January 2003

E.Tzen, '"New Desalination Plants in the Greek Islands", EDS Newsletter, Issue 17, January 2003.

During the years 2000-2002 several new Reverse Osmosis desalination units were built in the Greek islands of Aegean Sea. The Aegean Sea consists of around a thousand islands with populations of up to 20,000 people. In recent there has been an increased awareness of desalination technology by the Greek people and especially of the Greek islands' Municipalities.

Desalination offers an important option in these islands where water transportation is still the main supply alternative. Table 1 lists the desalination units that have been installed in the Greek Islands of both the Ionian and the Aegean Sea. As a general rule these belong to the islands' Municipalities. Most of them have a good operational record despite the hard maintenance conditions on the islands, many of which are located far from the mainland. The water cost for the seawater plants is ranged from € 0.7/m3 to € 2.6/m3* while for the brackish water plants is around € 0.4/m3.

Regrettably, in these islands the water produced from desalination units is not used for drinking due to the mixing of this with water from other resources (drills, wells, tankers, etc) and/or due to the unproven old water distribution system.

Hopefully, with the Greek Government's support more and more desalination units will be installed and successfully operated in the Greek islands to provide this most precious resource, fresh water.

Contact: Centre for Renewable Energy Sources

19 Km Marathonos Avenue, 19009 Pikermi, Greece

Tel.: +30 (210) 6603300;

Fax : +30 (210) 6603301;

email: etzen@cresdb.cress.ariadne-t.gr

Table 1

Reverse osmosis units in the Greek Islands

| Location | Area | Year of operation | Daily production, ni/d | Feed water type |
| --- | --- | --- | --- | --- |
| Mykonos | Ornos | 1989 | 1200 | seawater |
| Mykonos | Ornos | 2001 | 2000 | seawater |
| Syros | Ermoupolis | 1989 | 1200 | seawater |
| Syros | Ermoupolis | 1993 | 800 | seawater |
| Syros | Ermoupolis | 1998 | 960 | seawater |
| Syros | Ermoupolis | 2000 | 2x250 | seawater |
| Syros | Ermoupolis | 2001 | 4x500 | seawater |
| Syros | Ermoupolis | 2001 | 4x120 | seawater |
| Syros | Kini | 1993 | 144 | seawater |
| Syros | Kini | 2000 | 250 | seawater |
| Syros | Kini | 2002 | 500 | seawater |
| Syros | Poseidonia | 2001 | 250 | seawater |
| Syros | Poseidonia | 2002 | 250 | seawater |
| Syros | Poseidonia | 2002 | 250 | seawater |
| Thira | Oia | 1994 | 400 | seawater |
| Thira | Oia | 1998 | 160 | seawater |
| Thira | Oia | 2002 | 250 | seawater |
| Thirasia1 | Thirasia | 1997 | 4.8 | seawater |
| los | Milopotas | 2001 | 1000 | seawater |
| Sifnos | Kamares | 2002 | 500 | brackish |
| Kimolos2 | — | 2001 | 110 | seawater |
| Paros | Naousa | 2001 | 1200 | brackish |
| Nisyros | Mandraki | 2001 | 300 | seawater |
| Chios | Omiroupolis | 2000 | 720 | brackish |
| Chios | Omiroupolis | 2001 | 900-1000 | brackish |
| Ithaki | — | 1983 | 500 | seawater |

'Desalination units powered by renewable energy sources

________________________

* Units in Thira, pump the seawater from a height of around 80 m

above the sea level leading to a high energy cost