Frank Ormel, Ioannis Antoniou, Hans Jørgensen, Harald Mellinghoff, Detlef Kindler, Fragiskos Mouzakis, Stefan Emeis, Enrique Soria, “Wind Energy SODAR Evaluation (WISE): Phase 1”, Proc. EWEC 2003, 16-19 June, Madrid, Spain.

Abstract

In 2001 7 European institutes started to work on the WISE project. The aim of this project is to see what is needed to improve an off-the-shelf, commercially available SODAR to an acceptable and practical alternative for high meteorological towers in wind energy measurement projects. In the WISE project possibilities will be investigated of post-processing and instrument calibration, and after that applications in Power Performance Testing and measurements in complex terrain. This paper will only deal with the first activities done in this project, which are comparing SODAR measurements against a meteorological tower and first attempts to calibrate SODAR systems. This project is funded by the European Commission within the 5th Framework Programme.

Keywords

-