E. Tzen, D. Theofiloyianakos, et all, “Design and Development of a Hybrid Desalination System for Seawater Desalination”, PV in Europe – From PV technology to Energy Solutions Conf, 7-1 1 October 2002, Rome, Italy, pp.1 154-1 156, and also in International Conf. RES for Island tourism and Water, 26-28 May 2003, Crete, Greece, pp 231-237

Abstract

This paper presents the work performed within the project entitled “Design and Development of an Autonomous Desalination System with Photovoltaics and Wind Generator”. The project partially financed by the Greek Ministry of Development within the Operational Programme for Competitiveness, Measure 4.3, PAVET 2000, Third Community Support Framework. The project started on October 2001 and has 18 months duration. The aim of this project is the design and development of an autonomous hybrid power supply system to drive a seawater Reverse Osmosis (RO) desalination unit for the production of potable water. Measurements of basic parameters will be taken into account in order to examine the performance, reliability of the system and its potentiality in autonomous operation.

Keywords

Hybrid, Desalination, Remote