H.Bindner. P.S.Vionis. P.Zorlos, E. Soria Lascorz, P. Lundsager, "Feasibility Studies on Combined Wind Diesel Desalination in Greece and Spain: Results and Perspectives", Proc. Mediterranean Conference on Renewable Energy Sources for Water Production, pp.277-282, 10-12 June 1996, Santorini, Greece.

Abstract

In this paper, different combined wind diesel desalination technologies are studied. The technical and economic performance of these systems, from a logistic point of view, was examined in two feasibility studies, carried out in the framework of APAS programme. The results show that combining desalination with wind energy increases the penetration level of wind energy into the existing power supply system. On the other hand, a large fraction of the power required by the desalination plant can be supplied by wind turbines, influencing the water production cost.

Keywords

-