G.GIinou, A.Fragoulis, M.Papadopoulos, G.Peponis, F.Neirac, "Wind Power in Large Island Grids; Integration Methodology and its Application to Crete". EWEA Special Topic Conference on Integration of Wind Power Plants in the Environment and Electric Systems, Oct.1996, Rome, Italy.

Abstract

This paper presents a new Geographic Information System based Wind Power Plants integration methodology, particularly applicable in large island electric grids and the results of its application to the island of Crete. This work was carried out in the framework of the "SOLARG1S" Joule II project, co-funded by the EU. This new integration methodology involves a multilevel, multi-criteria decision making process, capable of locating the best areas for RES installations. A considerable amount of geographic, technical and economical data was collected for Crete and imported into the GIS. Prior to the economical analysis based on the determination of an index called "Levelised Electricity Cost", a filtering of the region under study was performed taking into account a number of physical and technical constraints. The results provide detailed integration planning for wind energy development in Crete and show that the GIS methodology is the main route to large scale planning for Renewable Energy Systems in general [1], and Crete is an exemplary region for wind energy development.

Keywords

-