F.Mouzakis, E.Binopoulos, E.Morfiadakis, A.Fragoulis, N.Athanassiadis, “Investigation of the Power and Load Performance of a 100 kW Variable Speed Wind Generator”, Proc. EWEC ’97, pp. 263-267, 6-9 October, Dublin, Ireland.

Abstract

The interest for variable speed operation of large wind turbines is high due to the significant advantages this operation presents, namely the increase of energy capture, the decrease of load and fatigue levels and the stall regulation possibility at above rated wind speed operation. In order to acquire detailed experimental knowledge regarding the power and load performance of a variable speed wind turbine a large scale experiment was initiated and carried out by CRES on a 100kW prototype.

Keywords

-