A.Derrick, I.Ravey, I.Marti, G.Glinou, T.Pahlke, B.Schwenk, A.Brand, I.Antoniou, S.Frandsen, “A Unified Approach to the Evaluation of Site Specific Wind Characteristics for Use in both Energy and Load Modelling of a Potential Wind Turbine Development Site”, Proc. EWEC ’97, pp. 300-305, 6-9 October, Dublin, Ireland.

Abstract

This paper relates to work pertaining to the development of European guidelines for a unified approach to site assessment. The paper examines the current procedures adopted throughout Europe with a view to establishing a more comprehensive assessment methodology encompassing the evaluation of site specific wind characteristics as specified in the international wind turbine safely standard, IEC 1400-1, "Wind Turbine Generator System Part 1 : Safety of Wind Turbines" including parameters such as turbulence length scale and coherence.

Keywords

-