F.Mouzakis, N.Stefanatos, G.Glinou, “Assessment of Site Calibration Techniques for Complex Terrain”, Proc. EWEC ’97, pp. 313-316, 6-9 October, Dublin, Ireland.

Abstract

Power performance measurements on complex terrain suffer from large uncertainties due to the spatial variation of wind speed which may differ from the reference mast location to the wind turbine location. This problem is addressed herein by the application of several site calibration procedures. The results obtained are presented and discussed focusing on the applicability of the techniques and their uncertainty in estimating the Annual Energy Production from wind turbine systems.

Keywords

-