S.Frandsen, I.Antoniou, J.A.Dahlberg, A.Derrick, D.Douvikas, P.Chaviaropoulos, R.Ruffle, R.Hunter, D.Kanellopoulos, G.Kapsalis, “Improved Power Performance Assessment Methods", Proc. EWEC ’99, pp. 18-21, 1-5 March 1999, Nice, France.

Abstract

The uncertainty of presently-used methods for retrospective assessment of the productive capacity of wind farms is unacceptably large. The possibilities of improving the accuracy have been investigated and are reported. A method is presented that includes an extended power curve and site calibration. In addition, blockage effects with respect to reference wind speed measurements are analyzed.

It is found that significant accuracy improvements are possible by the introduction of more input variables such as turbulence and wind shear, in addition to mean wind speed and air density. Also, the testing of several or all machines in the wind farm - instead of only one or two - may provide a better estimate of the average performance.

Keywords

Performance Assessment, Wind Farm, Sensitivity, Site Calibration, Blockage Effects, Uncertainty