E.Morfiadakis, K.Papadopoulos, T.Philipidis, D.Lekou, "Assessment of Strain Gauge Technique for Measurement of Wind Turbine Blade Load", Proc. EWEC ’99, pp. 671-674, 1-5 March 1999, Nice, France.

Abstract

Blade load measurement errors are assessed by numerical simulation and full-scale laboratory tests. The error sources addressed are cross-talk effects, the influence of temperature deviations on interpretation of strain measurements and aspects of the calibration practice. The temperature effect is the most significant source of error. Temperature compensation methods are discussed and recommendations are provided to assist in the improvement of the blade load measurement quality.

Keywords

Test Methods, Strain Gages Applications, Composite Materials, Standards