E.Morfiadakis.  K.Papadopoulos,  H.Seifert,  N.van  der Borg, S.M.Petersen, "Assessment of Wind Turbine Load Measurement Instrumentation", Proc. EWEC ’99, pp. 675-678, 1-5 March 1999, Nice, France.

Abstract

In the framework of Sub-Task3 'Wind Turbine Load Measurement Instrumentation" of EU-project "European Wind Turbine Testing Procedure Development", the load measurement techniques have been assessed by laboratory, full scale and numerical tests. The existing methods have been reviewed with emphasis on the strain gage application techniques on composite materials and recommendations are provided for the optimization of load measurement techniques.

Keywords

Test Methods, Strain Gages Applications, Composite Materials, Standards.