K. Papadopoulos, E.Morfiadakis, N.Stefanatos, H.Link, U.S.Paulsen, "Performance Assessment of Cup Anemometers", Proc. EWEC ’99, pp. 714-717, 1-5 March 1999, Nice, France.

Abstract

An extensive field testing of cup anemometers used in power curve measurements of wind turbines has been performed with the purpose to assess the turbulence effect on the wind speed measurement and on the anemometer response to tilted flow. Results from four anemometers are presented and discussed with respect to their geometric and aerodynamic characteristics. The tilt sensitivity has been found in good agreement with previous wind tunnel studies.

Keywords

Anemometers, Resources, Standards, Test Methods, Turbulence, Wind Speed