M.Koulouvari, F.Mouzakis, "Power Quality in Relation to Wind and Wind Turbine Loading Characteristics", Proc. EWEC ’99, pp. 778-781, 1-5 March 1999, Nice, France.

Abstract

The steadily increasing penetration of wind energy into the grid during the last decade has drawn the attention towards grid integration aspects. In this regard, power quality issues become a major concern, especially because of the fact, that many sites with wind potential beneficial to utilization for power generation are located in remote areas, where the grid is weak and the interaction of the wind turbines with the grid is possible to cause problems.

An investigation of the parameters affecting the power quality characteristics of a WT has been made and the results are presented. The analysis is based on data collected from a measurement campaign conducted on a stall regulated, 100 kW wind turbine, operating in complex terrain and connected to stable grid conditions. The power quality measurements comply with the prerequisites of the IEC and MEASNET standards. The measurement campaign is described, the methodology followed in the analysis is presented and the results obtained are displayed and discussed.

Keywords

Power quality, Flicker, Load.