S.Voutsinas, P.Chaviaropoulos, V.Riziotis and D.Mourikis “Profile Stall Characteristics, Aerodynamic Damping and Design Implications for Wind Turbine Blades”, Proc. 18th ASME Wind Energy Symposium & 37th AIAA Aerospace Sciences Meeting and Exhibit, January 1999, Reno, Nevada.

Abstract

Aeroelastic stability of wind turbine blades is considered and design implications are discussed. The investigation is motivated by recent concern on destructive "edgewise" vibrations of modern, half-megawatt scale, blades. The work has two parts. First, results from an investigation on a one-section model problem are presented. The model is derived combining a spring-mass-damper equivalent of the structure with "non-stationary" aerodynamics based on a linearized version of the ONERA dynamic stall model. The stability characteristics are then investigated in terms of the defining non-dimensional structural and aerodynamic parameters. In the second part, a full blade investigation is undertaken. The aerodynamic modeling includes wake induced effects whereas stall is not linearized. This direct approach permits to check the trends and indications from the first part on a commercial blade using a state of the art aeroelastic model. A parametric investigation is carried out with respect to the post stall behavior of the airfoils in the outboard region as well as with respect to the basic flap and edge eigenfrequencies. The paper presents the results of this study and discusses the corresponding design implications.

Key words

Flap-Edge Instability, Dynamic Stall, Edgewise Vibrations, Wind Turbines