D.Foussekis, “Use of New Cellular Telephony Technologies (WAP, SMS) to Remotely Monitor and Control Wind Turbine Operation”, Proc. EWEC 2001, pp. 284-286, 2-7 July 2001, Copenhagen, Denmark.

Abstract

Remote controlling and monitoring wind turbines is generally done using conventional telephony and custom made programs. Nowadays, new devices appear (mobile telephones supporting WAP protocol, handheld PCs) offering the possibility to be instantly and more efficiently informed, when running critical applications. Moreover, hundreds lines of code can be saved, using a WAP browser, as a communication interface. This paper presents how cellular telephony technologies, like the Short Messages Services (SMS) and the Wireless Application Protocol (WAP), are implemented in the control and monitoring software of a wind farm operation.

Keywords

Wind Farm, Monitor, WAP, SMS, Mobile Phones