E.Tzen, F.Mouzakis, P.Vionis, K.Daoud, “Development of a Logistic Model for the Design of Autonomous Desalination Systems with Renewable Energy Sources”, Proc. EWEC 2001, pp. 948-951, 2-7 July 2001, Copenhagen, Denmark.

Abstract

Nowadays, there are several architectures, which could be used to combine renewable energy and desalination systems for fresh water production in remote locations where no electrical grid exists. Hybrid power systems incorporate renewable energy power systems with conventional power sources (diesel generators) to drive desalination systems are considered as an alternate solution to provide electricity and water to rural areas.

This paper presents part of the work performed within the project entitled "Development of a Logistic Model for the Design of Autonomous Desalination Systems with Renewable Energy Sources", partially financed by the Middle East Desalination Research Center (MEDRC) in Oman. The main objective of the project is the development of a logistic model for the design of autonomous hybrid power supply systems to drive Reverse Osmosis units for the desalination of brackish and seawater. The provision of a validate and users friendly software package to assist engineers for the design of hybrid systems to drive Reverse Osmosis desalination systems is an important tool for the coupling of the two technologies which is not very applicable and market available. The development of such a tool will result in the provision of a hybrid - RO system with lower unit water cost, exploiting the renewable energy sources of the particular site. The use of a simple design tool for the coupling of the two technologies will make those technologies more attractive to the designers and to all potential users.

Keywords

Desalination Systems, Stand Alone Systems