Ε. Τζέν, «Μέθοδοι Αφαλάτωσης-Συγκριτική Αξιολόγηση και Εφαρμογές στα Νησιά του Αιγαίου», Συμπόσιο Αιγαίο- Νερό- Βιώσιμη Ανάπτυξη, 6-7 Ιουλίου 2001, Πάρος.

Abstract

This paper presents the work being performed by the European Network for the Integration of Renewable Energy Sources into Water Production within the APAS Programme which is partially funded by the European Commission, DG-XII and coordinated by CRES. One of the project’s scope was the collection of information and the study of the already existing RES -Desalination plants. Within pilot and demonstration plants in the Mediterranean countries problems and R&D needs were defined. In Greece except the solar distillation technology which was developed during 1965-75 no other RES-Desalination plants founded.

The present work focused on the description of the sea water Reverse Osmosis desalination plants in Greece which cover part of the islands water needs. Plants presentation, as well as the cost comparison of the produced water with other water resources evince the need for their proper maintenance and development.

Keywords

-