E.Tzen, “Desalination Technology-Methods-Applications-Economics”, HYDRORARA 2002, EYDAP, Athens, March 2002.

Abstract

Nowadays, water is defined as a scarce and necessary resource, essential for live and majority of economic activities. The provision of fresh water is becoming an increasingly important issue in many areas in the world. Areas around the Mediterranean are between these in which demand for fresh water is expected to increase within the coming years. Water production is considered as a possible solution to the water shortage problem. Conventional desalination is fairly well developed and some processes considered quite mature. This paper presents the most important technologies for brackish and seawater desalination, technology selection criteria, applications in Greece and around the world as well as costs of the produced water by each technology and feed water type. Furthermore, Renewable Energy Sources offer an alternative power source to drive desalination units, mostly in areas characterized by lack of electricity or high electricity cost. The most promising couplings of the Renewable Energy Sources (RES), with desalination technologies are also presented. A number of RES desalination applications occur around the world and presented in this paper.

Keywords

-