Anastasopoulos, D. A. Kourousis, A. G. Dutton, M. J. Blanch, P. Vionis, D. J. Lekou, D. R. V. van Delft, P. A. Joosse, A. Proust, T. P. Philippidis, T. Kossivas, G. Fernando, “Real-time Evaluation of Wind Turbine Blades with Acoustic Emission Monitoring During Certification Tests”, NDT.net September 2002, Vol.7, No.09: http://www.ndt.net/v07n09.htm

Abstract

Within the scopes of a current EC-funded research project, Acoustic Emission (AE) monitoring has been extensively applied during laboratory testing of various Wind Turbine Blades. Baseline static and fatigue full-scale testing up to failure was performed on a series of small-scale blades. Loading included several load-and-hold periods at intermediate stages prior to failure, and has enabled the development of a fast and effective "damage grading" system for the blades (from "minor damage" to "severe damage"). Grading was based on the amount of critical AE hits appearing during the hold periods. Such hits are identified and sorted out automatically, after each period, using trained Supervised Pattern Recognition algorithms on the acquired AE data, incorporated into specially developed (within the scopes of the Project) software, while, furthermore, the blade is graded using the software's predefined grading criteria. The whole procedure is applied on load-hold data, at anytime in-between testing stages and is implemented during testing of large, commercial scale blades. Ultimately, the grading technique will, also, be used for the evaluation of installed blades, with proof tests and on-site monitoring.

Keywords

-