K.Papadopoulos, A.Andreä, K.Argyriadis, “A Practical Guide for Quantifying Uncertainty in Load Measurements for Turbine Type Certification”, Proc. EWEC 2003, 16-19 June, Madrid, Spain.

Abstract

Practical guidelines for assessing the principal uncertainty components of load measurements are provided from the technical point-of-view of the test measurement institute and combined with the experience and expectations of a certifying body. Discussion refers to load calibrations, cross-talk, guidelines for efficient uncertainty calculation, relative significance of error sources. Target uncertainty levels for load results are obtained.

Keywords

Load Measurements, Certification, IEC TS61400-13, Uncertainty, Calibration, Cross-talk